|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | SC-FX-0743 | SC-FX-0743 | ABC 18lbs | Fire Extinguisher | Dry Chemical | MB-940078 | 12:00:00 AM | | SC-FXL-0743 | Pole H14 | D2 | 1 | Subfab | Pass | N/A | |
|  |
| |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | SC-FX-0752 | SC-FX-0752 | ABC 20lbs | Fire Extinguisher | Dry Chemical | KG-969644 | 12:00:00 AM | | SC-FXL-0752 | D2-SC11 Link | D2-SC11 Link | 1 | Hallway | Pass | N/A | |
|  |
| |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | SC-FX-0755 | SC-FX-0755 | ABC 20lbs | Fire Extinguisher | Dry Chemical | HM-357677 | 12:00:00 AM | | SC-FXL-0752 | D2-SC11 Link | D2-SC11 Link | 1 | Hallway | Pass | N/A | |
|  |
| |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | SC-FX-0757 | SC-FX-0757 | ABC 20lbs | Fire Extinguisher | Dry Chemical | MB-940080 | 12:00:00 AM | | SC-FXL-0757 | BCDS Room | D2 | 1 | Subfab | Pass | N/A | |
|  |
| |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | SC-FX-0760 | SC-FX-0760 | ABC 20lbs | Fire Extinguisher | Dry Chemical | HC-756301 | 12:00:00 AM | | SC-FXL-0760 | Room 3118 | D2 | 1 | UPS | Pass | N/A | |
|  |
| |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | SC-FX-0761 | SC-FX-0761 | ABC 20lbs | Fire Extinguisher | Dry Chemical | NJ-607229 | 12:00:00 AM | | SC-FXL-0761 | Battery RM | D2 | 1 | UPS | Pass | N/A | |
|  |
| |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | SC-FX-0762 | SC-FX-0762 | ABC 20lbs | Fire Extinguisher | Dry Chemical | PK-784480 | 12:00:00 AM | | SC-FXL-0762 | Pole X11 | D2 | 1 | Subfab | Pass | N/A | |
|  |
| |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | SC-FX-0763 | SC-FX-0763 | ABC 20lbs | Fire Extinguisher | Dry Chemical | MR-794746 | 12:00:00 AM | | SC-FXL-0763 | BCDS Room | D2 | 1 | Subfab | Pass | N/A | |
|  |
| |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | SC-FX-0764 | SC-FX-0764 | ABC 20lbs | Fire Extinguisher | Dry Chemical | JT-915023 | 12:00:00 AM | | SC-FXL-0764 | Mech Equipment | D2 | 1 | Inside | Pass | N/A | |
|  |
| |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | SC-FX-0767 | SC-FX-0767 | ABC 20lbs | Fire Extinguisher | Dry Chemical | KR-033443 | 12:00:00 AM | | SC-FXL-0767 | Elec. Room | D2 | 1 | Inside | Pass | N/A | |
|  |
| |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | SC-FX-0769 | SC-FX-0769 | ABC 20lbs | Fire Extinguisher | Dry Chemical | MR-794744 | 12:00:00 AM | | SC-FXL-0770 | SMS Stores | D2 | 1 | Subfab | Pass | N/A | |
|  |
| |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | SC-FX-0770 | SC-FX-0770 | ABC 20lbs | Fire Extinguisher | Dry Chemical | RK-784489 | 12:00:00 AM | | SC-FXL-0770 | SMS Stores | D2 | 1 | Subfab | Pass | N/A | |
|  |
| |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | SC-FX-0773 | SC-FX-0773 | ABC 20lbs | Fire Extinguisher | Dry Chemical | MB-949157 | 12:00:00 AM | | SC-FXL-0773 | Pole H8 | D2 | 1 | Subfab | Pass | N/A | |
|  |
| |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | SC-FX-0774 | SC-FX-0774 | ABC 20lbs | Fire Extinguisher | Dry Chemical | RW-758610 | 12:00:00 AM | | SC-FXL-0774 | Pole H11 | D2 | 1 | Subfab | Pass | N/A | |
|  |
| |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | SC-FX-0775 | SC-FX-0775 | ABC 20lbs | Fire Extinguisher | Dry Chemical | HC-763301 | 12:00:00 AM | | SC-FXL-0775 | Slurry Room | D2 | 1 | Inside | Pass | N/A | |